## Functional Requirements
Version 5.0
Reference | Area | Requirement | Requirement Description | Supporting Information
MHHSP-01 | LSS | LSS accesses (via ISD) Master Settlement Timetable | The LSS must be able to access the Master Settlement Timetable (publish mechanism will be part of ISD). The Master Settlement Timetable shall include the day type for each UTC date. | LSS will use the Master Settlement Timetable from ISD based on a calendar day approach.
MHHSP-02 | LSS | LSS meets the Master Settlement Timetable | The LSS must act in accordance with the Master Settlement Timetable | As per Operational Choreography there will be 1 run per UTC date.
MHHSP-03 | LSS | LSS has capability to undertake a re-run | LSS must be able to re-run a Load shaping calculation with revised and or additional data. This can be prior to and post publication. | This requirement would only ever be triggered by direction of the BSC Panel. Assumption is no re-publication, interdependency with the data services requirements and operational choreography.
MHHSP-03A | LSS | LSS Validates UTC Period Consumption Data following receipt from Data Services | LSS validates UTC Period Level Consumption data following receipt. LSS performs a number of checks as set out in the LSS Method Statement eg It checks for duplicates and a number of specific errors including above e.g. below a single configurable maximum value held in LSS. Any errors are reported to Market participants and BSCCo. | See separate LSS Method Statement for validation rules
MHHSP-04 | LSS | LSS accesses UTC Period Consumption flagged as 'Actual' | The LSS must access each UTC Period Consumption flagged as actual ('A' flag) for the UTC Date. | LSS only uses actual meter data for the construction of the load shapes
MHHSP-05 | LSS | LSS accesses ISD Data | LSS must obtain ISD data from the master source
MHHSP-06 | LSS | LSS uses most recent ISD data applicable to the UTC date | The LSS must use the most recent ISD data applicable to the UTC Date that defines the Load Shape Categories so that it can assign the MPANs to Load Shape Categories
MHHSP-07 | LSS | LSS accesses registration data | The LSS must access specific registration data items defined in the Load Shape Category table in ISD so that it can allocate MPANs to Load Shape Categories. LSS must be able to identify the registration data appropriate to the UTC Date being processed. The LSS will use the most recent Registration data associated with the UTC Period being processed in the LSS generation calculations.
MHHSP-08 | LSS | LSS holds data in UTC and kWh | The LSS must access, process and publish UTC Period Consumption data in Coordinated Universal Time (UTC) and in kilowatt hours (kWh) up to three decimal places.
MHHSP-09 | LSS | LSS averages actual consumption data | The LSS must average Actual UTC Period Consumption and process data by UTC Period and Load Shape Category so that Load Shapes can be created.
MHHSP-10 | LSS | LSS allocates MPANs to Load Shape Categories | The LSS must use Registration Data and Load Shape Category table from ISD to allocate the MPAN data to a Load Shape Category.
MHHSP-11 | LSS | LSS counts number of MPANs | The LSS must count the number of MPANs in each Load Shape Category for each UTC Period.
MHHSP-12 | LSS | LSS creates Load Shapes | LSS must create Load Shape average for each Load Shape Category for each UTC Period using the calculation as defined in the Load Shaping Service Method Statement. | See separate LSS Method Statement for calculation
MHHSP-13 | LSS | LSS references a De-Minimis Value | The LSS must access a configurable De-Minimis Value, stored in ISD (MPAN count) per Load Shape Category so that it can identify where a default Load Shape calculation is required for a UTC Period.
MHHSP-14 | LSS | LSS allocates the appropriate default Load shape | The LSS must allocate the appropriate Default Load Shape to each UTC Period for a Load Shape Category where the De-Minimis value has not been met so it can publish a Load Shape for that Load Shape Category (using the Load Shaping Service Method Statement) | See separate LSS Method Statement for calculation
MHHSP-15 | LSS | LSS applies appropriate Default Flag | The LSS must apply an appropriate default flag on any UTC Period that has been defaulted (types of default flag to be determined) | See separate LSS Method Statement for calculation
MHHSP-16 | LSS | LSS calculates Daily Totals | The LSS must sum all of the individual UTC Period averages, for each UTC date, so as to calculate a daily total for each Load Shape Category. This daily total should be stored/published alongside the Load Shape Data. | See separate LSS Method Statement for calculation
MHHSP-17 | LSS | LSS calculates Off-Peak Total | The LSS must sum all of the off-peak UTC Period averages, for each UTC Date, so as to calculate a off-peak daily total for each Load Shape Category. These off-peak totals should be stored/published alongside the Load Shape Data. This applies to Smart Segment only | See separate LSS Method Statement for calculation
MHHSP-18 | LSS | LSS calculates Peak Total | The LSS must sum all of the peak UTC Period averages, for each UTC Date, so as to calculate a peak daily total for each Load Shape Category. These peak totals should be stored/published alongside the Load Shape Data This applies to Smart Segment only | See separate LSS Method Statement for calculation
MHHSP-19 | LSS | LSS retrieves daily totals | The LSS must retrieve Load Shape daily Totals for the current UTC Date and previous 6 UTC Dates so it can be used in calculating the 7 day rolling totals
MHHSP-20 | LSS | LSS retrieves Load Shape daily off-peak Totals | The LSS must retrieve Load Shape daily off-peak Totals for the current UTC Date and previous 6 UTC Dates so it can be used in calculating the 7 day rolling Off-Peak totals. This applies to Smart Segment only | No change as the Load Shape run date may differ to the UTC date e.g. for a re-run
MHHSP-21 | LSS | LSS retrieves Load Shape daily Peak Totals | The LSS must retrieve Load Shape daily Peak Totals for the current UTC Date and previous 6 UTC Dates so it can be used in calculating the 7 day rolling Peak totals. This applies to Smart Segment only | No change as the Load Shape run date may differ to the UTC date e.g. for a re-run
MHHSP-22 | LSS | LSS calculates 7 day rolling Total | For each LSS Category, the LSS must calculate the total for the current UTC date plus the last 6 days for each UTC date in order to store and publish as part of the Load Shape Data | See separate LSS Method Statement for calculation
MHHSP-23 | LSS | LSS calculates 7 day rolling off-peak Total | For each LSS Category, the LSS must calculate the off-peak total for the current UTC date plus the last 6 days for each UTC Date in order to store and publish as part of the Load Shape Data. This applies to Smart Segment only | See separate LSS Method Statement for calculation
MHHSP-24 | LSS | LSS calculates 7 day rolling peak Total | For each LSS Category, the LSS must calculate the peak total for the current UTC Date plus the last 6 days for each UTC Date in order to store and publish as part of the Load Shape Data This applies to Smart Segment only | See separate LSS Method Statement for calculation
MHHSP-25 | LSS | LSS identifies criteria for default Load Shape calculation | Where the count of UTC Period Consumption for a Load Shape Category is less than the De-Minimis Value the LSS shall calculate a default Load Shape for that UTC Period using data for all GSP Group Load Shape Categories that have the same remaining Load Shape Category characteristics. | See separate LSS Method Statement for calculation
MHHSP-26 | LSS | LSS rounds data to 3 decimal places | LSS must round output data to 3 decimal places | See separate LSS Method Statement for calculation
MHHSP-28 | LSS | LSS stores all Load Shapes and associated data | The LSS must store all Load Shape data by Load Shape Category including Default Averages, MPAN counts and default flags for 10 years to allow for future review and audit when required
MHHSP-29 | LSS | LSS creates and stores date/time stamp | The LSS shall store a date/time defining when the Load Shape run was undertaken and stored
MHHSP-30 | LSS | LSS retains MPAN level data | The LSS shall retain MPAN level data for 40 months to allow for the reproduction of Load Shapes where required | LSS must either store the MPAN level meter data or have access to it.
MHHSP-31 | LSS | LSS provides data on request | The LSS must provide Load Shaping data for ad-hoc requests. | LSS reports defined in IF-022 and IF-023
MHHSP-32 | LSS | LSS makes Load Shape Data available by 12:00 noon | The LSS must make the Load Shape Data available before 12:00 noon on the Calendar Date that the LSS Run has been undertaken. If the publish time is not met LSS will publish a default, which is the most recent data for the same Day Type. | As per Operational Choreography Load Shape Data will be made available at 12:00 noon on CAL+4
MHHSP-33 | LSS | LSS defaults where no data is available | For each UTC Period where no data is available for the Load Shape Category for every GSP group, the LSS must default to the most recent Day Type. If there is no data for the previous day of the same Day Type, LSS must use value of 1 for all UTC Periods associated to the UTC Date. | See separate LSS Method Statement for calculation
MHHSP-34 | LSS | LSS validates for processing errors | For each UTC Period the LSS must validate that processing has completed correctly without error prior to the publishing of the LSS data
MHHSP-35 | LSS | LSS Validation Failure investigation | If validation fails an investigation into the cause of failure must be undertaken to correct the validation failure and Load Shape. If no error is identified data is assumed to be correct.
MHHSP-36 | LSS | LSS publishes Load Shape data | The LSS should publish Load Shape Data, in the agreed format via the DIP for every period in the UTC Date including Load Shape Totals | Agreed format is as per IF-022 and IF-023
MHHSP-37 | LSS | LSS provides Load Shape data that is publically accessible | The LSS shall publish Load Shape Data, on the BSC website in a manner that is available to the public to access | Elexon as BSCCo will publish Load Shape Data in a way that does not require passwords, i.e. not via a portal requiring credentials.
MHHSP-38 | LSS | LSS performs reasonableness check | For each UTC Period the LSS shall check the output was correct before publishing | See separate LSS Method Statement for calculation
MHHSP-39 | LSS | LSS calculates Load Shape Rolling Annual Total | The LSS must calculate the Load Shape Rolling Annual Total for each UTC date. | See separate LSS Method Statement for calculation